## JVR-Al. Tube
JVR Serial Number : |  | JVR/Al. Tube | [6 empty] | Date:18.04.2024
MATERIAL PHYSICAL VERIFICATION REPORT
Name of the Agency : - |  |  |  | Bharat Heavy Electricals Limited-Transmission Business Group, Noida
Name of the Package : - |  |  |  | POWERGRID Khavda-II (400 kV GIS)
LOA & SAP PO ref : - |  |  |  | CC/T/WGIS/DOM/A04/23/01063/NOA-1/23100380/01 & 02 dated 27.03.2023 (6900011983 )
Site : - |  |  |  | 400kV GIS Substation Package SS02 _Khavda-II
Sap Line No | Item no of BOQ | Description of Item as per BOQ & BOM | Unit | Qty as per BOQ & BOM | Previous Qty | Physically Qty Received | LR no & Date | Challan/Packing list & date | MICC No & date | CIP No & date | Remarks
00281 | 1000002138 | ALUMINUM TUBE : AL TUBE 4.5" IPS (EH TYPE) | M | 740 | 0 | 861 | GC No.-36098390 dated 17.03.2024 | 23GSTPR-26387 dated 16.03.2024/CEL/ 2023 / 26387 dated 16.03.2024 | To be issued | 9000096962 dated 14.03.2024 | M/s Century Extrusions Limited
| Certificate : | It is certified that all materials as mentioned above found in full qty.and good condition.
|  | Signature of Contractor | [6 empty] | Signature of PowerGrid

## JVR-GIS CSD
JVR Serial Number : |  | JVR/GIS CSD | [6 empty] | Date:18.04.2024
MATERIAL PHYSICAL VERIFICATION REPORT
Name of the Agency : - |  |  |  | Bharat Heavy Electricals Limited-Transmission Business Group, Noida
Name of the Package : - |  |  |  | POWERGRID Khavda-II (400 kV GIS)
LOA & SAP PO ref : - |  |  |  | CC/T/WGIS/DOM/A04/23/01063/NOA-1/23100380/01 & 02 dated 27.03.2023 (6900011983 )
Site : - |  |  |  | 400kV GIS Substation Package SS02 _Khavda-II
Sap Line No | Item no of BOQ | Description of Item as per BOQ & BOM | Unit | Qty as per BOQ & BOM | Previous Qty | Physically Qty Received | LR no & Date | Challan/Packing list & date | MICC No & date | CIP No & date | Remarks
00110 | 1000009713 | CONTROLLED SWITCHING DEVICE-420KV | Nos | 11 | 0 | 11 | 280985 dated 31.03.2024 | G23000365 dated 31.03.2024 | To be issued | 8000085952 dated 30.03.2024 | M/s Toshiba
| Certificate : | It is certified that all materials as mentioned above found in full qty.and good condition.
|  | Signature of Contractor | [6 empty] | Signature of PowerGrid

## JVR-GIS ICT Feeder Bay Module
JVR Serial Number : |  | JVR/GIS ICT Bay Module | [6 empty] | Date:18.04.2024
MATERIAL PHYSICAL VERIFICATION REPORT
Name of the Agency : - |  |  |  | Bharat Heavy Electricals Limited-Transmission Business Group, Noida
Name of the Package : - |  |  |  | POWERGRID Khavda-II (400 kV GIS)
LOA & SAP PO ref : - |  |  |  | CC/T/WGIS/DOM/A04/23/01063/NOA-1/23100380/01 & 02 dated 27.03.2023 (6900011983 )
Site : - |  |  |  | 400kV GIS Substation Package SS02 _Khavda-II
Sap Line No | Item no of BOQ | Description of Item as per BOQ & BOM | Unit | Qty as per BOQ & BOM | Previous Qty | Physically Qty Received | LR no & Date | Challan/Packing list & date | MICC No & date | CIP No & date | Remarks
00135 | 1000004637 | 420KV, 3150 A, 63 KA, SF6 GIS ICT FEEDER BAY MODULE (EXCLUDING LCC, SF6 Ducts, SF6 Gas, LV Cable & Support Structure) | SET | 4 | 3 | 1 | 281006 dated 31.03.2024 281007 dated 31.03.2024 281008 dated 02.04.2024 281010 dated 02.04.2024 281013 dated 03.04.2024 281021 dated 04.04.2024 | G23000363A dated 31.03.2024 G23000363B dated 31.03.2024 G23000363C dated 02.04.2024 G23000363D dated 02.04.2024 G23000363E dated 03.04.2024 G23000363F dated 04.04.2024 | To be issued | 9000097670 dated 30.03.2024 | M/s Toshiba
| Certificate : | It is certified that all materials as mentioned above found in full qty.and good condition.
|  | Signature of Contractor | [6 empty] | Signature of PowerGrid

## JVR-GIS Bus Bar Bay Module
JVR Serial Number : |  | JVR/GIS Bus Bar Bay Module-2nd lot | [6 empty] | Date:18.04.2024
MATERIAL PHYSICAL VERIFICATION REPORT
Name of the Agency : - |  |  |  | Bharat Heavy Electricals Limited-Transmission Business Group, Noida
Name of the Package : - |  |  |  | POWERGRID Khavda-II (400 kV GIS)
LOA & SAP PO ref : - |  |  |  | CC/T/WGIS/DOM/A04/23/01063/NOA-1/23100380/01 & 02 dated 27.03.2023 (6900011983 )
Site : - |  |  |  | 400kV GIS Substation Package SS02 _Khavda-II
Sap Line No | Item no of BOQ | Description of Item as per BOQ & BOM | Unit | Qty as per BOQ & BOM | Previous Qty | Physically Qty Received | LR no & Date | Challan/Packing list & date | MICC No & date | CIP No & date | Remarks
00133 | 1000004533 | 420KV, 4000A,63KA GIS BUSBAR MODULE (Excluding PTs, SF6 Gas, LV Cable & Support Structure) | SET | 4 | 0 | 4 | 280964 dated 22.03.2024 280965 dated 23.03.2024 280966 dated 23.03.2024 280968 dated 23.03.2024 280956 dated 24.03.2024 280969 dated 24.03.2024 280970 dated 24.03.2024 280973 dated 24.03.2024 280976 dated 26.03.2024 280977 dated 26.03.2024 280979 dated 27.03.2024 280980 dated 27.03.2024 280983 dated 28.03.2024 280984 dated 31.03.2024 281009 dated 02.04.2024 281011 dated 03.04.2024 281012 dated 03.04.2024 280987 dated 08.04.2024 | G23000346A dated 22.03.2024 G23000346B dated 23.03.2024 G23000346C dated 23.03.2024 G23000346D dated 23.03.2024 G23000346E dated 24.03.2024 G23000346F dated 24.03.2024 G23000346G dated 24.03.2024 G23000346H dated 24.03.2024 G23000346I dated 26.03.2024 G23000346J dated 26.03.2024 G23000346K dated 27.03.2024 G23000346L dated 27.03.2024 G23000346M dated 28.03.2024 G23000364A dated 31.03.2024 G23000364B dated 02.04.2024 G23000364C dated 03.04.2024 G23000364D dated 03.04.2024 G23000364E dated 08.04.2024 | To be issued | 9000097055 dated 16.03.2024 | M/s Toshiba
| Certificate : | It is certified that all materials as mentioned above found in full qty.and good condition.
|  | Signature of Contractor | [6 empty] | Signature of PowerGrid

## JVR-GIS Bay Module (2nd Lot )
JVR Serial Number : |  | JVR/GIS Bay Module-2nd lot | [6 empty] | Date:18.04.2024
MATERIAL PHYSICAL VERIFICATION REPORT
Name of the Agency : - |  |  |  | Bharat Heavy Electricals Limited-Transmission Business Group, Noida
Name of the Package : - |  |  |  | POWERGRID Khavda-II (400 kV GIS)
LOA & SAP PO ref : - |  |  |  | CC/T/WGIS/DOM/A04/23/01063/NOA-1/23100380/01 & 02 dated 27.03.2023 (6900011983 )
Site : - |  |  |  | 400kV GIS Substation Package SS02 _Khavda-II
Sap Line No | Item no of BOQ | Description of Item as per BOQ & BOM | Unit | Qty as per BOQ & BOM | Previous Qty | Physically Qty Received | LR no & Date | Challan/Packing list & date | MICC No & date | CIP No & date | Remarks
00131 | 1000004619 | 420KV, 63KA FOR 1S, 3150A, SF6 GIS AUXILIARY BUS MODULE FOR SPARE TRANSFORMER (Excluding SF6 Ducts, SF6 Gas, LV Cable & Support Structure) | SET | 1 | 0 | 1 | 280250 dated 16.03.2024 280260 dated 16.03.2024 280261 dated 16.03.2024 280262 dated 16.03.2024 280264 dated 17.03.2024 280265 dated 17.03.2024 280266 dated 17.03.2024 280267 dated 17.03.2024 280268 dated 17.03.2024 280269 dated 17.03.2024 280270 dated 17.03.2024 280271 dated 18.03.2024 280272 dated 18.03.2024 280273 dated 18.03.2024 280274 dated 18.03.2024 280277 dated 18.03.2024 280279 dated 18.03.2024 280280 dated 19.03.2024 280281 dated 19.03.2024 280288 dated 19.03.2024 280289 dated 19.03.2024 280291 dated 19.03.2024 280293 dated 19.03.2024 280296 dated 20.03.2024 280298 dated 20.03.2024 280954 dated 22.03.2024 280955 dated 22.03.2024 280263 dated 16.03.2024 280275 dated 18.03.2024 280287 dated 19.03.2024 280292 dated 19.03.2024 280294 dated 19.03.2024 280295 dated 20.03.2024 280297 dated 20.03.2024 280276 dated 18.03.2024 280278 dated 18.03.2024 280290 dated 19.03.2024 280299 dated 20.03.2024 280951 dated 21.03.2024 280952 dated 21.03.2024 280953 dated 21.03.2024 | G23000342A dated 16.03.2024 G23000342B dated 16.03.2024 G23000342C dated 16.03.2024 G23000342D dated 16.03.2024 G23000342E dated 17.03.2024 G23000342F dated 17.03.2024 G23000342G dated 17.03.2024 G23000342H dated 17.03.2024 G23000342I dated 17.03.2024 G23000342J dated 17.03.2024 G23000342K dated 17.03.2024 G23000342L dated 18.03.2024 G23000342M dated 18.03.2024 G23000342N dated 18.03.2024 G23000342O dated 18.03.2024 G23000342P dated 18.03.2024 G23000342Q dated 18.03.2024 G23000342R dated 19.03.2024 G23000342S dated 19.03.2024 G23000342T dated 19.03.2024 G23000342U dated 19.03.2024 G23000342V dated 19.03.2024 G23000342W dated 20.03.2024 G23000342X dated 20.03.2024 G23000342Y dated 20.03.2024 G23000342Z dated 22.03.2024 G23000342Z-1 dated 22.03.2024 G23000343A dated 16.03.2024 G23000343B dated 18.03.2024 G23000343C dated 19.03.2024 G23000343D dated 19.03.2024 G23000343E dated 19.03.2024 G23000343F dated 20.03.2024 G23000343G dated 20.03.2024 G23000344A dated 18.03.2024 G23000344B dated 18.03.2024 G23000344C dated 19.03.2024 G23000344D dated 20.03.2024 G23000344E dated 21.03.2024 G23000344F dated 21.03.2024 G23000344G dated 21.03.2024 | To be issued | 9000097055 dated 16.03.2024 | M/s Toshiba
00132 | 1000004632 | 420KV,3150A,63KA GIS BUS REACTOR MODULE (Excluding LCC, SF6 Ducts, SF6 Gas, LV Cable & Support Structure) | SET | 2 | 0 | 2
00134 | 1000004505 | 420KV, 3150 A, 63 KA, SF6 GIS TIE BAY MODULE (WITHOUT PIR) (Excluding LCC, SF6 Ducts, SF6 Gas, LV Cable & Support Structure) | SET | 5 | 2 | 3
00135 | 1000004637 | 420KV, 3150 A, 63 KA, SF6 GIS ICT FEEDER BAY MODULE (EXCLUDING LCC, SF6 Ducts, SF6 Gas, LV Cable & Support Structure) | SET | 4 | 1 | 2
00136 | 1000004638 | 420 KV, 3150 A, 63 KA, SF6 GIS LINE FEEDER BAY MODULE (WITHOUT PIR) (EXCLUDING LCC, SF6 Ducts, SF6 Gas, LV Cable & Support Structure) | SET | 4 | 3 | 1
| Certificate : | It is certified that all materials as mentioned above found in full qty.and good condition.
|  | Signature of Contractor | [6 empty] | Signature of PowerGrid

## JVR-FPS
JVR Serial Number : |  | JVR/FPS-1 | [6 empty] | Date:26.03.2024
MATERIAL PHYSICAL VERIFICATION REPORT
Name of the Agency : - |  |  |  | Bharat Heavy Electricals Limited-Transmission Business Group, Noida
Name of the Package : - |  |  |  | POWERGRID Khavda-II (400 kV GIS)
LOA & SAP PO ref : - |  |  |  | CC/T/WGIS/DOM/A04/23/01063/NOA-1/23100380/01 & 02 dated 27.03.2023 (6900011983 )
Site : - |  |  |  | 400kV GIS Substation Package SS02 _Khavda-II
Sap Line No | Item no of BOQ | Description of Item as per BOQ & BOM | Unit | Qty as per BOQ & BOM | Previous Qty | Physically Qty Received | LR no & Date | Challan/Packing list & date | MICC No & date | CIP No & date | Remarks
- | - | MS PIPE-100 NB | M | 102 | 0 | 102 | 09972 dated 17.03.2024 (Parbhawati Logistics) | 1703202401 dated 17.03.2024 | To be issued | 9000096350 dated 26.02.2024
- | - | MS PIPE (FOR PYLON SUPPORT) Light Grade-65 NB | M | 160 | 0 | 160 |  |  |  | 9000096350 dated 26.02.2024
- | - | GI PIPE-100 NB | M | 36 | 0 | 36 |  |  |  | 9000096350 dated 26.02.2024
- | - | GI PIPE-65 NB | M | 84 | 0 | 84 |  |  |  | 9000096350 dated 26.02.2024
- | - | GI PIPE-50 NB | M | 108 | 0 | 108 |  |  |  | 9000096350 dated 26.02.2024
- | - | GI PIPE-25 NB | M | 240 | 0 | 240 |  |  |  | 9000096350 dated 26.02.2024
- | - | STRAINER Y TYPE-100 NB | No | 2 | 0 | 2 |  |  |  | 9000096507 dated 29.02.2024
- | - | GATE VALVE-100 NB | No | 6 | 0 | 6 |  |  |  | 9000096348 dated 26.02.2024
- | - | MS PIPE-250 NB | M | 324 | 0 | 324 |  |  |  | 9000096350 dated 26.02.2024
- | - | MS PIPE-150 NB | M | 48 | 0 | 48 |  |  |  | 9000096350 dated 26.02.2024
- | - | MS PIPE-80 NB | M | 72 | 0 | 72 |  |  |  | 9000096350 dated 26.02.2024
- | - | PHOTOELECTRIC SMOKE DETECTORS | No | 16 | 0 | 16 |  |  |  | 9000096262 dated 23.02.2024
00580 | 1000012024 | 6 KG DCP type Portable Fire extinguisher | No | 4 | 0 | 4 | 505480008395 dated 09.03.2024 | 23-24/K/007588 | 1200068729 dated 28.02.2024 | 8000084860 dated 28.02.2024
00570 | 1000012022 | 4.5 Kg CO2 type Portable Fire extinguisher | No | 4 | 0 | 4
- | - | BEAM DETECTORS | SET | 2 | 0 | 2 | 233434342 dated 21.03.2024 (TCI Freight) | 2103202401 dated 21.03.2024 | To be issued | 9000097170 dated 19.03.2024
- | - | MANUAL CALL POINT | No | 4 | 0 | 4 |  |  |  | 9000097168 dated 19.03.2024
- | - | HOOTER | No | 3 | 0 | 3
- | - | REMOTE RESPONSE INDICATORS | No | 6 | 0 | 6
- | - | 2CX1.5 SQMM UNARMOURED CONTROL CABLE FOR FIRE DETECTION SYSTEM | Mtr | 550 | 0 | 550 | 100012628455 dated 08.04.2024 | 3103202402 dated 31.03.2024 | To be issued | 9000097430 dated 26.03.2024
| Certificate : | It is certified that all materials as mentioned above found in full qty.and good condition.
|  | Signature of Contractor | [6 empty] | Signature of PowerGrid

## JVR-GIS Bay Module (1st Lot)
JVR Serial Number : |  | JVR/GIS Bay Module-1st Lot | [6 empty] | Date:22.03.2024
MATERIAL PHYSICAL VERIFICATION REPORT
Name of the Agency : - |  |  |  | Bharat Heavy Electricals Limited-Transmission Business Group, Noida
Name of the Package : - |  |  |  | POWERGRID Khavda-II (400 kV GIS)
LOA & SAP PO ref : - |  |  |  | CC/T/WGIS/DOM/A04/23/01063/NOA-1/23100380/01 & 02 dated 27.03.2023 (6900011983 )
Site : - |  |  |  | 400kV GIS Substation Package SS02 _Khavda-II
Sap Line No | Item no of BOQ | Description of Item as per BOQ & BOM | Unit | Qty as per BOQ & BOM | Previous Qty | Physically Qty Received | LR no & Date | Challan/Packing list & date | MICC No & date | CIP No & date | Remarks
00134 | 1000004505 | 420KV, 3150 A, 63 KA, SF6 GIS TIE BAY MODULE (WITHOUT PIR) (Excluding LCC, SF6 Ducts, SF6 Gas, LV Cable & Support Structure) | SET | 5 | 0 | 2 | 280139 dated 29.02.2024 280140 dated 29.02.2024 280141 dated 29.02.2024 280174 dated 01.03.2024 280175 dated 01.03.2024 280176 dated 01.03.2024 280177 dated 01.03.2024 280178 dated 02.03.2024 280179 dated 02.03.2024 280180 dated 02.03.2024 280182 dated 03.03.2024 280188 dated 04.03.2024 280189 dated 04.03.2024 280190 dated 04.03.2024 280191 dated 04.03.2024 280192 dated 04.03.2024 280193 dated 04.03.2024 280187 dated 04.03.2024 280196 dated 06.03.2024 280197 dated 06.03.2024 280215 dated 07.03.2024 280216 dated 07.03.2024 280228 dated 08.03.2024 280229 dated 08.03.2024 280232 dated 09.03.2024 280233 dated 09.03.2024 | G23000319A dated 29.02.2024 G23000319B dated 29.02.2024 G23000319C dated 29.02.2024 G23000319D dated 01.03.2024 G23000319E dated 01.03.2024 G23000319F dated 01.03.2024 G23000319G dated 01.03.2024 G23000319H dated 01.03.2024 G23000319I dated 02.03.2024 G23000319J dated 02.03.2024 G23000319K dated 03.03.2024 G23000319K dated 04.03.2024 G23000319M dated 04.03.2024 G23000319N dated 04.03.2024 G23000319O dated 04.03.2024 G23000319P dated 04.03.2024 G23000319Q dated 04.03.2024 G23000319R dated 05.03.2024 G23000319S dated 05.03.2024 G23000319T dated 05.03.2024 G23000319U dated 07.03.2024 G23000319V dated 07.03.2024 G23000319W dated 08.03.2024 G23000319X dated 08.03.2024 G23000319Y dated 09.03.2024 G23000319Z dated 09.03.2024 | To be issued | 9000096493 dated 29.02.2024 | M/s Toshiba
00135 | 1000004637 | 420KV, 3150 A, 63 KA, SF6 GIS ICT FEEDER BAY MODULE (EXCLUDING LCC, SF6 Ducts, SF6 Gas, LV Cable & Support Structure) | SET | 4 | 0 | 1
00136 | 1000004638 | 420 KV, 3150 A, 63 KA, SF6 GIS LINE FEEDER BAY MODULE (WITHOUT PIR) (EXCLUDING LCC, SF6 Ducts, SF6 Gas, LV Cable & Support Structure) | SET | 4 | 0 | 3
00137 | 1000055351 | 420KV, 3150 A, 63 KA, SF6 GIS SWITCHABLE LINE REACTOR BAY MODULE (EXCLUDING LCC, SF6 Ducts, SF6 Gas, LV Cable & Support Structure) | SET | 1 | 0 | 1
00138 | 1000004654 | 420KV, 4000 A, 63 KA, SF6 GIS BUS SECTIONALISER MODULE (EXCLUDING LCC, SF6 Ducts, SF6 Gas, LV Cable & Support Structure) | SET | 2 | 0 | 2
| Certificate : | It is certified that all materials as mentioned above found in full qty.and good condition.
|  | Signature of Contractor | [6 empty] | Signature of PowerGrid